## Slide 1: Western Blotting Protocol
Matthew Allan

## Slide 2: Western Blotting Protocol
Prepare protein samples
SDS PAGE
Membrane transfer
Preliminary Staining
Cutting membrane
Blocking
Primary antibody
Secondary antibody
Chemiluminescent treatment
Imaging

## Slide 3: I. SDS PAGE
Make a polyacrylamide gel
Load protein samples into a gel
Run gel

## Slide 4: Make a polyacrylamide gel
Determine gel percent (see chart) 8% to 14% best
Clean cassette and ensure sealing
Make corresponding resolving gel and stacking gel (the latter without TEMED); add resolving gel to cassette up to the notch
Wait 30 minutes or until solidified
Add TEMED to stacking gel and add on top of resolving gel
Wait 30 minutes or until solidified
Remove from cassette; clean up

## Slide 5: Load protein samples into a gel
Place gel into electrophoresis apparatus; its notch aligns with the notch on the apparatus (short plate faces inwards, spacer plate outwards)
Ensure the rear plastic piece fits snugly into apparatus
Tighten clamps and ensure both sides of internal chamber are sealed
Place apparatus in plastic container
Fill middle chamber with running buffer; spill over into larger chamber until lower electrode is covered
Pipette loading dye into protein samples (use 1:10 loading dye:protein) the loading dye contains 10x SDS and beta mercaptoethanol
Pipette protein samples into corresponding wells, rinsing the tip between each sample by pipetting the buffer through the tip; add a ladder to the penultimate well and loading dye only to the first and last; all wells should be equivolumetric

## Slide 6: Run gel
Place the top on the electrophoresis apparatus
Set the machine for 220 V and run for 40 min
Periodically check if machine is still running: “ER” means something is wrong—likely a loose electrical connection
Stop it as soon as the loading dye emerges at the bottom of the gel, and don’t let it run any further

## Slide 7: II. Membrane transfer
Set up membrane and gel stack
Run electric current
Discard all materials except the membrane

## Slide 8: Set up membrane and gel stack
Clean machine with dd water
For four pieces of filter paper, soak them all at once in transferring buffer (20% methanol, 10% 10x transferring buffer) and stack them up; do not touch the middle and use a flat comb to press out trapped air bubbles
Soak and add the membrane
Trim off the stacking gel, add the resolving the gel, and smooth it out
Add four more filter papers as described above
Close the machine and place heavy books on top

## Slide 9: Run electric current
Set the current to 90 mA per gel
Let the machine run for 1 hour

## Slide 10: Discard all materials except the membrane
The filter paper and gel go into the trash
NEVER touch the center of the membrane with fingers or gloves; place it into a plastic bin for staining

## Slide 11: III. Preliminary staining
The first time you run the gel, you stain the gel itself with Commassie Blue to equalize the amount of protein loaded into each well. Stain with Ponceau S for membranes for western blotting to calibrate the amount of protein to add to each well.

## Slide 12: III. Preliminary staining
Stain with either Ponceau S for membranes for western blotting to calibrate the amount of protein to add to each well

## Slide 13: Ponceau S Stain
Pour Ponceau S over the membrane in the plastic bin and slosh it around for several seconds, until bands appear
Pour out the Ponceau S and wash briefly with ddH2O, but not so much as to remove the Ponceau S
Scan the films in to record how much protein is in each lane with the scanner
If needed, the membrane can be placed in a protective sleeve of plastic that is cut to size and then stored at 4 degrees

## Slide 14: Coomassie Blue Stain
Wash the gel with a fixing agent for coomassie blue on the rocking platform for 10 min
Pour out the fixing agent and add the commassie blue carefully (it is toxic), then incubate on the rocking platform for 10 min
Pour out the commassie blue into the commassie blue waste containers (it cannot go down the drain
Add the destain solution and a VWR light dust paper and place on the rocking platform for a variable time, up to overnight, then pour it out
Commassie blue gels are not blotted; rather, they determine whether more or less protein should be added to subsequent gels in order to equalize the protein between lanes

## Slide 15: IV. Cutting membrane
Place membrane in protective sleeve
Label regions of interest
Cut apart regions of membrane

## Slide 16: Place membrane in protective sleeve
Cut a piece of the protective plastic sleeve using the paper trimmer and place the membrane inside the sleeve

## Slide 17: Label regions of interest
Identify the areas of the membrane in which the proteins of interest will be, using the protein ladder as a guide
Outline them with a pen, writing through the plastic sleeve, and label each one with the protein of interest and the lane numbers

## Slide 18: Cut apart regions of membrane
With the membrane in its sleeve, cut apart the outlined regions with paper trimmer
Discard the needless regions of the membrane

## Slide 19: V. Blocking
Wash membrane
Incubate with milk solution on rocking platform
Membrane
Milk protein
Protein of interest

## Slide 20: Wash membrane
Remove each membrane from its plastic sleeve with forceps
Place it in a a plastic bin and cover with TBST
Rock the membrane back and for 5 mins, until the Ponceau S disappears
Carefully pour the TBST into the sink

## Slide 21: Incubate with milk solution on rocking platform
Cover the membranes with 5% milk solution in TBST
Rock on setting 2 for 5 to 10 minutes
Take the membranes out of the plastic bins

## Slide 22: V. Primary antibody
Prepare bag with milk and primary antibody
Seal membrane into bag
Incubate in vertical rotator
Heavy variable
Light variable
Light constant
Heavy constant
Specific binding
Unspecific binding

## Slide 23: Prepare the bag with milk and primary antibody
Calculate the correct amount of each primary antibody to add; typical concentrations range from 1:20000 to 1:500
Cut out a section of bag film about 5 cm by 10 cm and seal three sides closed
Label each bag with the protein to be blotted for
Pipette 3 to 4 mL of 5% milk into each bag
Go to the antibody freezer with a 2 – 20 microliter pipette and tips
In the freezer, pipette each primary antibody into its corresponding bag, or take the antibody to the lab bench and add it there

## Slide 24: Seal membrane into bag
Place each membrane in its corresponding bag with forceps
Press out the bubbles from each bag
Seal the bag closed, leaving enough space for the membrane to move around; press on the bag to ensure there are no holes

## Slide 25: Incubate in vertical rotator
Tape each bag to the vertical rotator in the refrigerator
Start the rotator, and do not adjust the speed
Lightly tap each bag to make sure the membranes can float freely

## Slide 26: VI. Secondary antibody
Wash membrane in TBST
Prepare bag with milk and HRP-fused secondary antibody
Seal membrane into bag
Incubate in vertical rotator

## Slide 27: Wash membrane in TBST
Cover the membranes with TBST
Rock on setting 2 for 10 minutes or setting 3 for 5 minutes
Carefully pour the TBST into the sink
Repeat steps 1 to 3 twice more

## Slide 28: Prepare the bag with milk and secondary antibody
Calculate the correct amount of each secondary antibody to add; typical concentrations range from 1:2000 to 1:500
Cut out a section of bag film about 5 cm by 10 cm and seal three sides closed
Label each bag with the protein to be blotted for
Pipette 3 to 4 mL of 5% milk into each bag
Go to the antibody freezer with a 2 – 20 microliter pipette and tips
In the freezer, pipette each primary antibody into its corresponding bag; every primary antibody comes from an animal, and every species has a unique heavy constant region; the secondary antibody must match the species that made first antibody for it to bind

## Slide 29: Seal membrane into bag
Place each membrane in its corresponding bag with forceps
Press out the bubbles from each bag
Seal the bag closed, leaving enough space for the membrane to move around; press on the bag to ensure there are no holes

## Slide 30: Incubate in vertical rotator
Tape each bag to the vertical rotator in the refrigerator
Start the rotator, and do not adjust the speed
Lightly tap each bag to make sure the membranes can float freely

## Slide 31: VI. Chemiluminescent treatment
Combine the two reagents
Add reagent mixture to membranes
Align membranes on protective sleeve
The HRP, part of the secondary antibody, causes the luminol to glow

## Slide 32: Combine luminol and substrate for Western Blot
Take out the box of the two reagent bottles from the refrigerator
Into a microcentrifuge tube, pipette 100 microliters per membrane of each reagent
Put the reagents back in the refrigerator

## Slide 33: Add the reagent mixture to the membranes
Place the membranes on a piece of Saran Wrap; ensure that the text is readable and the membranes are protein-face-up
Pipette-drip the reagent mixture onto each membrane, 200 microliters per membrane, covering evenly and completely
Incubate for 1 minute

## Slide 34: Align membranes on protective sleeve
Move the membranes to an open piece of protective sleeve with forceps
Position them such that they are as close as possible without overlapping and right beside the guide strip affixed to the paper
Close the sleeve and tape it shut

## Slide 35: VI. Imaging
Take membranes and film to the darkroom
Quickly press film against membrane
Repeat as necessary
Feed film through developing machine

## Slide 36: Take membranes and film to the darkroom
Take the film out of the drawer to the left of the SDS PAGE machines
Walk to the darkroom in South Frear, flip on the normal light, make sure the exposure bench is clear and the exposure machine is set to “Day,” open up the black sleeve with the membranes, and then switch to the dark light
Wait for the eyes to adjust

## Slide 37: Quickly press the film against the membrane
Open the film box and remove one piece of film
Holding the black paper sleeve open, quickly place the film in position on top of the membranes’ protective plastic sleeve
Keeping one hand on the film at all times to prevent it from moving, place the right hand on the film, remove the left hand from the film, and then, with the left hand, press the black sleeve top flap down onto the film; finally, remove the right hand to allow the sleeve to cover the film entirely
Hold for the predetermined amount of time

## Slide 38: Repeat as necessary
Different regions of the same piece of film can be used for two or more images
Different membranes can be imaged
Different exposure times, from 2 seconds to 10 minutes, can be used

## Slide 39: Feed film through developing machine
Once all images have been collected, place each piece of film, one at a time, on the right side feed-in tray
The film will automatically be pulled in and developed
Once the machine beeps, the next piece of film can be fed in
After the final beep, the film has been fully developed and is no longer light-sensitive
Ensure that the box of film is closed correctly before turning on the normal light
Remove the film from the developing machine
Analyze the results

## Slide 40: References
http://www.bio-rad.com/webroot/web/pdf/lsr/literature/Bulletin_6376.pdf